

**PUMPLUS**

**PRESSURE VESSELS**

PumPlus Pressure tank is an essential part of a pressurized water system that provides water pressure at a set level.

The tank stores supplemental water between the diaphragm and liner, and the pressurized air chamber is able to create a supply circle.

This process reduces the number of times the motor needs to start in order for the system pressure to remain at the set level. The tension of the diaphragm maintains water pressure within the system, ensuring proper operation of the pump system.

PumPlus pressure tank is an energy-saving device and no maintenance is needed. A properly sized pump and pump tank will work as a team to meet your needs and will deliver many years of

dependable service.

Aquasky products are produced according to the standards established by PED 2014/68/EU and EN 13831 regulations.



|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Shell | System Connection | Coating | Diaphragm | Liner Material | Factory Pre-Charge | Max Working Temperature | Max Working Pressure |
| Cold Rolled Carbon Steel | 304 Stainless Steel Connector | Triple Grade Shield Coating | Heavy Duty Butyl Rubber | FDA Grade Polypropylene | Up to 160LT =30 PSI 2 Bar235LT=45 PSI 3 Bar | 90 C194 F | 150 PSI10 Bar |

**Sizes Available:**

|  |  |
| --- | --- |
| 1” BSP Stainless Steel Inlet Fitting | 1 ¼” BSP Stainless Steel Inlet Fitting |
| 3LT | 8LT | 18LT | 60LT | 80LT | 100LT | 160LT | 235LT | 450LT |
|  |

**Features Include**

Stainless steel nipple fitted on top mounted models.

Stainless steel elbows on free standing models.

Long life diaphragm system with high-grade butyl membrane.

Plastic mounting base.

The shield coating two-part polyurethane exterior over an epoxy undercoating provides excellent protection from UV and salt spray.

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |

